# GRID 3 ENE: Increasing the share of renewable energy sources in the power sector in Kosovo - construction of wind generation capacities

| WBIF Beneficiary: | Ministry of Economy /publicly owned entity ( to be established) | Date: | 08.12.2023 |
| --- | --- | --- | --- |
| Sector: | Energy/Power Generation |  |  |
| Sub-sector | Renewable Energy Sources |  |  |
| Line Ministry: | Ministry of Economy |  |  |
| Proposed infrastructure project: | Increasing the share of renewable energy sources in the power sector in Kosovo - construction of wind generation capacities |  |  |

Eligibility Criteria

| No. | Eligibility criteria | Yes | No | Comments |
| --- | --- | --- | --- | --- |
| e1 | Is the project in line with valid EU policies and strategies? | X |  | DIRECTIVE (EU) 2018/2001 on the promotion of the use of energy from renewable sources EUROPEAN COMMISSION Communication on an Economic and Investment Plan for the Western Balkan Sofia Declaration on the Green Agenda for the Western Balkans Climate, energy, mobility |
| e2 | Does the project contribute to valid national development objectives? | X |  | Government Program 2021-2025 Draft National Development Strategy 2030 6.3. Green Agenda |
| e3 | Is the project covered by the relevant sector strategy, by a Sector Action Plan or by a Sector Master Plan? | X |  | Energy Strategy of the Republic of Kosova 2022-2031 Energy Strategy Implementation Program 2022-2025 |
| Conclusion: Does the project meet the eligibility criteria? |  | X |  |  |
| IF NOT ELIGIBLE, THE ASSESSMENT BELOW IS NOT REQUIRED! |  |  |  |  |

Criteria for Strategic Relevance

| No. | Prioritisation criteria for strategic relevance | Score (1-5) | Scoring guide | Weight (*x) | Weighted score |
| --- | --- | --- | --- | --- | --- |
| S1 | The project is included in the latest PECI list | 1 | Yes = 5; No = 1 | 5 | 5 |
| S2 | The project in line with ENTSO-E, ENTSOG infrastructure development plans | 1 | Yes = 5; No = 1 | 4 | 4 |
| S3 | The project improves security of supply | 4 | High impact = 5; Medium impact = 3 Low impact = 1 | 4 | 16 |
| S4 | Impact on local infrastructure improvement | 4 | New infrastructure with high standards = 5 Improvement/upgrade = 3 Rehabilitation/retaining the same characteristics = 1 | 5 | 20 |
| S5 | Facilitation of renewable energy sources | 4 | More than 10% (100 MW/h)additional generation = 5; Between 5% and 10% additional generation = 3 Less than 5% (50 MW/h) additional generation = 1 | 3 | 12 |
| S6 | The project supports energy efficiency measures | 1 | Public sector = 5 Private sector = 3 Low relevance = 1 | 5 | 5 |
| S7 | The project contributes to reduction of CO2 emissions | 5 | Significant reduction (greater than 60,000 t/year = 5 Moderate reduction (greater than or equal to 30,000 t/year and less than or equal 60,000 t/year) = 3 No reduction (less than 30,000 t/year) = 1 | 4 | 20 |
| S8 | The project requires considerable investment | 5 | > 50 million € = 5 Between 5 and 50 million € = 3 < 5 million € = 1 | 4 | 20 |
| S9 | The project contributes to the overall economic growth | 1 | Inter-regional = 5 Regional = 3 Country = 1 | 3 | 3 |
| S10 | The risks associated with the project are manageable | 5 | New facilities = 5 Upgrading/extension = 3 Replacement project = 1 | 3 | 15 |
| S11 | The beneficiary has the necessary capacity to successfully manage the delivery of the Project | 1 | Sufficient = 5 Medium = 3 Not sufficient = 1 | 4 | 4 |
| Final score for the project: |  |  |  |  | 124 |